| Date: _____________ |  |
| --- | --- |
| User/Operator |  |
| Office/College/Unit |  |
| Department |  |
| Date Acquired |  |
| Category. Brand Name. Model Name. Mac Address. Serial. Total Power or Capacity. |  |

PREVENTIVE MAINTENANCE CHECKLIST FOR UPS

For the Month of

| Item | Maintenance | Specification | Status |  |  |
| --- | --- | --- | --- | --- | --- |
|  |  |  | Good | Near Maintenance | N/A |
| 1 | Physical Inspection | UPS casing and indicators are in good condition |  |  |  |
|  |  | Power cable and output connections are secure |  |  |  |
|  |  | No unusual noise, odor, or visible damage |  |  |  |
| 2 | Power and Battery | Battery or backup status is normal |  |  |  |
|  |  | Input and output power operation verified |  |  |  |
|  |  | Total load is within rated capacity |  |  |  |
| 3 | Configuration and Monitoring | Network or LAN monitoring settings verified if supported |  |  |  |
|  |  | Firmware or management settings checked |  |  |  |
|  |  | Logs or alarms reviewed with no critical issue |  |  |  |

| Summary/Recommendation |  |
| --- | --- |

Checked by:	Noted by:

Carlo Martin A. Sarausa

Technical Staff	DTO Chief